## Sheet1
Boulder - Bruker 120/5
[8 empty] | LASER |  |  |  | CELL |  |  |  | Comments
[8 empty] | Front |  | Back |  |  |  | No Cell | w Cell
Date | Time (LST | Description | Purpose | Sky conditions | SZA | Is time ok? | Check Signal | A | B | A2 | B2 | Gas | xpm | Check signal | Check signal | Add details
2019-07-09 | 8:30 | Routine | Solar | Blue |  | yes | yes | [8 empty] | Clouads around 1pm
2019-07-09 | 14:30 | Cell | HBr Cell |  |  | yes |  | 5.5 | 5.8 | 5 | 5.5 | HBr | HBr_InSb_KBr_125.XPM | 20900 | 17047 | Cell # 87; Final spectra repeated 8x8 = 64 scans; Left measurements over night
2019-07-10 | 9:10 | Routine | Solar | Blue |  | yes | yes | 5.5 | 5.8 | [6 empty] | All day blue sky. When SZA was low kept measuring so filter some spectra
2019-07-11 | 8:20 | Routine | Solar | Blue | 33.46 | yes | yes | 5.5 | 5.8 | 5 | 5.5
2109-07-12 | 9:10 | Routine | Solar | Blue | 43.26 | yes | yes | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | Cloudy at about 11:00 AM
2019-07-15 | 9:25 | Routine | Solar | Blue | 46.74 | [10 empty] | Some light haze against flatirons while driving in. Cloudy at about 12:00 noon and windspeed increasing to 10 m/s gusts.
2019-07-17 | 12:20 | Routine | Solar | Scattering of Cumulus Clouds | 10.87 | [10 empty] | Heavier cloud cover until about noon, hot day: 34 deg C. Scattered cloud, spectra might not be great.
2019-07-19 | 8:33 | Routine | Solar | Light cloud on horizon | 53.47 | [10 empty] | Balloon launch this morning. Very hot last 3 days. Light optically thin clouds on horizon.
2019-07-23 | 9:15 | Routine | Solar | Blue | 44.74 | yes | yes ; 17K s6 | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | High ozone concentration around the foothills
2019-07-24 | 9:05 | Routine | Solar | Blue | 43.52 |  | yes; 17100 s1; 17100 s6 | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | Clouds around noon
2019-07-26 | 9:20 | Routine | Solar | Blue | 44 | yes | yes; s6 19900; s1 21900 | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | Clouds around noon
2019-07-29 | 9:30 | Routine | Solar | Blue |  | yes | 25K s1; 21600 s6
2019-07-31 | 10:05 | Routine | Solar | Blue; some clouds around | 56.03 | yes | 18700 s6;
2019-08-02 | 9:20 | Routine | Solar | Blu |  | yes | 19400 s1; 15800 s6 | [8 empty] | clouds over around noon
2019-08-05 | 9:20 | Routine | Solar | Blue |  | yes | 18900 s1; 17000 s6 | 5.5 | 5.8 | 5 | 5.5
2019-08-12 | 9:05 | Routine | Solar | Blue | 47.07 | yes | 18900 s6; 21150 s1 | 5.5 | 5.8 | 5 | 5.5
2019-08-13 | 9:00 | Routine | Solar | Blue |  | yes
2019-08-14 | 9:10 | Routine | Solar | Blue |  |  | 16300 s6; 19000 s1
2019-08-15 | 9:05 | Routine | Solar | Blue
2079-08-16 | 9:30 | Routine | Solar | Blue/clouds around
2019-08-19 | 9:30 | Routine | Solar | Blue/clouds around (high clouds) |  | yes | 23500 S6; 19900 s1 | [8 empty] | clouds around 1:40pm
2019-08-20 | 9:15 | Routine | Solar | Blue/high clouds |  |  | 19000 s6; 21300 s1
2019-08-22 | 9:10 | Routine | Solar | Blue/tiny clouds around | 50.34 |  | 17000 s6; 19000 s1
2019-08-27 | 9:10 | Routine | Solar | Blue |  | yes | 19300 S6; 16400 S1 | 5.5 | 5.8 | 5 | 5.5
18300 s6; 26500 s1
2019-09-05 | 10:10 | Routine | Solar | Blue; westerly broken clouds |  |  | 17800 s6; 19500 s1 | [8 empty] | Cloudy at 11am
2019-09-09 | 8:30 | Routine | Solar | Blue; westerly broken clouds |  |  | 13500 s6; 13400 s1 | [8 empty] | FASCINATE workshop - check spectra
[7 empty] | 14900 s1; | [8 empty] | FASCINATE workshop - check spectra
2019-09-13 | 13:30 | Routine | Solar | Blue |  |  | 22k s1 | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | Today the new eyepice stand was tested all morning
2019-09-19 | 8:40 | Routine | Solar | B |  | yes | [9 empty] | Automatic updates were made in the PC and could not connect to ya4, temporarily data is in C:\data
2019-09-20 | 9:10 | Routine | Solar | Blue |  |  | 14600 s1; 14500 s6
2019-09-30 | 9:10 | Routine | Solar | Blue |  | yes | 15000 s6; | 5.5 | 5.8 | 5 | 5.5
2019-10-04 | 9:00AM | Test Vis | Solar | Blue |  |  | 17200 s1 | [8 empty] | NaCl window was changed today before taking any spectra
2019-10-08 | 13:50 | Routine | Solar | Broken clouds |  | yes | 28K s1 | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | ACOM tour for board of trustees
2019-10-09 | 13:40 | Routine | Solar | Broken clouds | [11 empty] | Mostly cloudy in the am, broken clouds afternoon… measuring before big drop in tmep, and snowy day tomorrow
2019-10-11 | 11:50 | Routine | Solar | Blue |  |  |  | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | Blue sky, one day after first snow in the fall
2019-10-14 | 9:00 | Routine | Solar | Blue |  |  |  | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | windy (>7m/s gust) at about 12:30 and the hatch was closed
2019-10-22 | 9:05 | Routine | Solar | Blue |  |  | 17500 s1; 16500 s6 | [8 empty] | windy (>7m/s gust) at about 11:30 and the hatch was closed
2019-10-23 | 9:30 | Routine | Solar | Blue |  | yes | 19500 s1; 17600 s6 | 5.5 | 5.8 | 5 | 5.5
2019-10-24 | 9:25 | Routine | Solar | Blue |  |  | 20400 s1; 17700 s6 | [8 empty] | day afetr about 3in of snow
2019-10-25 | 9:30 | Routine | Solar | Blue | [11 empty] | In the evening Gains were optimized and from no we will use the testFlag; clean the mirror of tracker and rails
2019-10-28 | 11:30 | Cell | HBr Cell | Snowing/cloudy |  |  | 19790 no cell; | 5.5 | 5.8 | 5 | 5.5 |  |  |  |  | Cell # 87; Final spectra repeated 8x8 = 64 scans; location: C:\IR-Data\HBR\2019
2019-10-30 | 11:50 | Routine | Solar | Blue | [11 empty] | After three snowy days.
2019-11-05 | 8:15 | Routine | Solar | High clouds/low intensity | [11 empty] | Second day of the sfit workshop
2019-11-08 | 9:30 | Routine | Solar | blue | [11 empty] | Friday after the sfit4 workshop ended
2019-11-12 | 9:10 | Routine | Solar | Blue |  | yes |  | 5.5 | 5.8 | 5 | 5.5
2019-12-02 | 8:50 | Routine | Solar | Blue |  | no |  | 5 | 5.5 | 5 | 5.5 |  |  |  |  | Monday after thanksgiving, big snowstorm.. Clock was off by 10s, manually updated.
2019-12-06 | 9:25 | Routine | Solar | Mostly blue |  | yes |  | 5 | 5.5 | 5 | 5.5 |  |  |  |  | Clock was off by 15s, manually updated
2019-12-19 | 9:05 | Routine | Solar | Mostly blue |  | no
2109-12-20 | 9:10 | Routine | Solar | Blue |  |  |  | 5 | 5.5 | 5 | 5.5
2019-12-30 | 8:50 | Routine | Solar | Blue |  | yes
2020-01-02 | 12:30 | Routine | Solar | Blue
2020-01-07 | 8:50 | Routine | Solar | Blue |  | yes |  | 5 | 5.5 | 5 | 5.5
2020-01-24 | 10:50 | Routine | Solar | Mostly blue, some clouds |  | yes |  | 5 | 5.5 | 5 | 5.5 |  |  |  |  | past days were cloudy and went to AMS (Boston)
2020-01-28 | 10:25 | Routine | Solar | Blu |  | yes |  | 5 | 5.5 | 5 | 5.5 |  |  |  |  | Cell # 87; Final spectra repeated 8x8 = 64 scans; location: C:\IR-Data\HBR\2020
2020-01-29 | noon | Cell | HBr Cell | Overcast |  | yes
2020-02-10 | 9:00 | Routine | Solar | Blue/horizon clouds |  | yes |  | 5 | 5.5 | 5 | 5.5
2020-02-18 | 9:10 | Routine | Solar | Broken clouds but clear now |  | yes |  | 4.8 | 5 | 4.8 | 5
2020-02-20 | 9:20 | Routine | Solar | Blue |  | yes
2020-03-05 | 9:30 | Routine | Solar | Blue with some clouds |  | yes
2020-03-10 | 10:30 | Routine | Solar | Broken clouds but clear now |  | yes | [9 empty] | got windy and closed the tracker
2020-03-11 | 10:00 | Routine | Solar | High clouds/low intensity | [11 empty] | check first spectra, high clouds, but then it was blue sky
2020-03-16 | 8:20 | Routine | Solar | Blue |  | yes |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | got cloudy afte second set
2020-03-23 | 9:40 | Routine | Solar | Broken clouds |  | yes |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | First day after closure due to covid19
2020-03-24 | 8:30 | Routine | Solar | Mostly blue, some clouds |  | yes
2020-03-26 | 9:00 | Routine | Solar | Broken clouds/high clouds |  | yes | [9 empty] | Good day to test clouds
2020-03-29 | 8:30 | Routine | Solar | blue sky/broken clouds on the south | [11 empty] | Sunday
2020-03-31 | 10:00 | Routine | Solar | Broken clouds
2020-04-08 | 8:30 | Routine | Solar | blue |  | yes |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | Measurements also on 4/7 and 4/6. Blue skies
2020-04-09 | 8:45 | Routine | Solar | blue, |  | yes
2020-04-11 | 7:42 | Routine | Solar | blue | [11 empty] | Saturday, Jim came over
2020-04-14 | 8:35 | Routine | Solar | blue | [11 empty] | tons of snow last couple of days
2020-04-15 | 8:34 | Routine | solar | mostly cloudy, give it a shot | [11 empty] | mostly cloudy, give it a shot
2020-04-17 | 9:15 | Routine | Solar | blue |  |  |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | tons of snow yesterday
2020-04-20 | 8:55 | Routine | Solar | blue |  | yes |  | 4.8 | 5 | 4.8 | 5
2020-04-21 | 7:58 | Routine | Solar | blue/clouds come a bit later
2020-04-22 | 8:30 | Routine | Solar | many broken clouds |  |  |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | clouds came in fast only 6 spectra
2020-04-27 | 9:00 | Routine | Solar | blue |  | yes |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | pretty much all day, iom came morning. Jim afternoon
2020-04-28 | 9:00 | Routine | Solar | blue |  | yes | [9 empty] | windy day
2020-04-29 | 8:55 | Routine | Solar | blu
2020-05-01 | 8:50 | Routine | Solar | blue |  | yes |  | 4.8 | 5 | 4.8 | 5 |  |  |  |  | high clouds in the am, then good, then cloudy again
2020-05-04 | 8:52 | Routine | Solar | blue, clouds around |  | yes
2020-05-05 | 8:50 | Routine | Solar | blue |  | yes
2020-05-06 | 8:45 | Routine | Solar | blue, high clouds
2020-05-07 | 8:35 | Routine | Solar | blue
2020-05-12 | 11:55 | Routine | Solar | broken clouds, cloudy morning
2020-05-13 | 10:45 | Routine | Solar | cloudy morning, blue, broken clouds
2020-05-18 | 9:00 | Routine | Solar | upper clouds/kind of sunny |  | yes | [9 empty] | check this day, low snr, upper clouds, might not be ok
2020-05-19 | 8:22 | Routine | Solar | bluebird, but looks like will cloud later |  | yes | S1/10600 cts,S5/18400 | 5 | 5.1 | 4.5 | 4.9
2020-05-20 | 8:40 | Routine | Solar | blue | [11 empty] | got cloudy afte second set
2020-05-22 | 8:40 | Routine | Solar | blue |  | yes | [9 empty] | at about 12:30 sza is low and tracker is partially blocked by the hatch
2020-05-26 | 8:40 | Routine | Solar | blue |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-05-27 | 7:05 | Routine | Solar | blue
2020-05-28 | 7:45 | Routine | Solar | low broken clouds around | [11 empty] | stopped after 2 spectra, cloudy
2020-05-29 | 8:24 | Routine | Solar | blue
2020-06-01 | 8:42 | Routine | Solar | broken clouds |  | yes
2020-06-03 | 7:25 | Routine | Solar | blue (few high clouds) |  | yes
2020-06-04 | 8:42 | Routine | Solar | blue | [11 empty] | Bruker was stuck and did not respond, hard power down at about 11am
2020-06-05 | 7:05 | Routine | Solar | broken clouds |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-06-08 | 8:22 | Routine | Solar | blue |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-06-10 | 7:20 | Routine | Solar | blue |  | yes
2020-06-11 | 7:32 | Routine | Solar | blue
2020-06-12 | 8:40 | Routine | Solar | blue
2020-06-16 | 8:30 | Routine | Solar | High clouds/low intensity
2020-06-17 | 8:38 | Routine | Solar | blue
2020-06-18 | 8:30 | Routine | Solar | mostly blue, some high clouds
2020-06-22 | 8:31 | Routine | Solar | blue |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-06-23 | 8:37 | Routine | Solar | blue
2020-06-25 |  |  |  | high clouds but ok
2020-06-26 |  |  |  | high clouds but ok
2020-06-29 | 10:40 | Cell | HBr Cell | Snowing/cloudy |  |  | 18160 (no cell); 12630 (cell) | 5 | 5.1 | 4.5 | 4.9 |  |  |  |  | cell #87; rails were clean today.
2020-07-10 | 8:50 | Routine | Solar | blue |  |  |  | 5 | 5.1 | 4.5 | 4.9 |  |  |  |  | Jim measured for some days
2020-07-14 | 10:00 | Routine | Solar | high clouds mostly but sunny
2020-07-16 | 8:50 | Routine | Solar | clear, east clouds |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-07-17 | 8:55 | Routine | Solar | mostly clear, few clouds east
2020-07-21 | 8:40 | Routine | Solar | LOS clear but pretty cloudy around |  | yes | [9 empty] | Jim measured yesterday morning and I did after lunch so good day for diurnal variation
2020-07-22 | 8:48 | Routine | Solar | broken clouds |  | yes
2020-07-23 | 9:24 | Routine | Solar | high clouds but sunny |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-07-24 | 9:30 | Routine | Solar | high clouds but sunny
2020-07-27 | 8:23 | Routine | Solar | sunny with broken clouds
2020-07-29 | 8:30 | Routine | Solar | sunny |  | yes |  | 5 | 5.1 | 4.5 | 4.9
2020-08-03 | 7:03 | Routine | Solar | blue |  | yes
2020-08-04 | 9:14 | Routine | solar | blue/clouds around |  | yes |  | 5 | 5.1 | 4.8 | 4.9
2020-08-07 | 9:05 | Routine | Solar | Blue |  | yes
2020-08-11 | 9:13 | Routine | Solar | sunny/clouds around/foggy |  | yes | [9 empty] | Jim measured yesterday - all day filter 3, afternoon broken clouds
2020-08-12 | 9:01 | Routine | Solar | blue | [11 empty] | according to weather forecast smoky/fire plumes from west
2020-08-14 | 7:21 | Routine | Solar | blue |  | yes |  | 5 | 5.1 | 4.8 | 4.9 |  |  |  |  | all day FLT3, check spectra at about 12:30… solar tracer not centered
2020-08-15 | 7:25 | Routine | Solar | blue |  | yes | [9 empty] | Saturday, maybe fire plumes, seems hazy
2020-08-16 | 7:31 | Routine | Solar | blue | [11 empty] | Sunday; still hazy out there
2020-08-18 | 8:05 | Routine | Solar | blue |  | yes
2020-08-19 | 8:38 | Routine | Solar | blue
2020-08-20 | 9:45 | Routine | Solar | blue
2020-08-21 | 10:34 | Routine | Solar | sunny, hazy (wildfires?) |  | yes | [9 empty] | it's somehow hazy but sunny
2020-08-23 | 9:39 | Routine | Solar | sunny (smoky-poor visibility) | [11 empty] | hazy/smoky from wildfires
2020-08-25 | 8:57 | Routine | Solar | sunny (smoky-poor visibility) |  | yes |  | 5 | 5.1 | 4.8 | 4.9 |  |  |  |  | clouds over around noon
2020-08-26 | 8:40 | Routine | Solar | sunny (still smoky, less maybe) | [11 empty] | clouds over around 10:30am, stop measurements
2020-08-31 | 8:42 | Routine | Solar | sunny
2020-09-01 | 8:30 | Routine | Solar | sunny |  |  |  | 5.2 | 5.1 | 4.9 | 5
2020-09-02 | 10:55 | Routine | Solar | blue
2020-09-03 | 8:53 | Routine | Solar | sunny (thin clouds) | [11 empty] | smoke identified visually
2020-09-04 | 7:43 | Routine | Solar | blue
2020-09-07 | 7:55 | Routine | Solar | sunny/smoky | [11 empty] | labor day, cameron peak fire. Poor visibility
2020-09-14 | 8:15 | Routine | Solar | sunny/hazy/smoky?
2020-09-15 | 8:45 | Routine | Solar | sunny/hazy/smoky?
2020-09-21 | 10:30 | Routine | Solar | blue |  | yes |  | 5.2 | 5.1 | 4.9 | 4.9
2020-09-22 | 9:00 | Routine | Solar | sunny/clouds around |  | yes | [9 empty] | got cloudy at around 12:10
2020-09-23 | 9:10 | Routine | Solar | sunny/broken clouds
2020-09-24 | 8:48 | Routine | Solar | blue |  | yes | [9 empty] | Got cloudy at about 10:30am
2020-09-29 | 8:15 | Routine | Solar | blue
2020-09-30 | 8:12 | Routine | solar | blue/very smoky (ash) |  | yes | [9 empty] | smoke from the Mullen and cameron peak fires?. At about 3pm a thick plume crossed the LOS and solar tracker is not locked.
2020-10-02 | 8:20 | Routine | Solar | blue/smoky | [11 empty] | smoke from the Mullen fire
2020-10-12 | 9:45 | Routine | Solar | blue |  | yes |  | 5 | 5 | 4.9 | 4.9 |  |  |  |  | windy early, start measurements at 9:45 bv wind was lower 15mph; Stop measurements at 10am too windy
2020-10-13 | 8:18 | Routine | Solar | blue
2020-10-15 | 8:16 | Routine | Solar | sunny/clouds around | [11 empty] | maybe fire plume (cameron peak fires) is in the LOS (morning) - sun intesnity is low/dim; got cloudy/smoky, intesitity may be variable
2020-10-22 | 10:30 | Cell | HBr Cell | overcast |  | yes | 18776 (no cell); 15580 (no cell) | 5 | 5 | 4.9 | 4.9
2020-10-27 | 10:11 | Routine | Solar | sunny |  | yes | [9 empty] | xpm: HBr_InSb_KBr_125.XPM
2020-10-28 | 8:20 | Routine | Solar | sunny/high clouds |  | yes
2020-10-29 | 9:58 | Routine | solar | sunny
2020-10-30 | 9:01 | Routine | Solar | sunny |  | yes |  | 5 | 5 | 4.9 | 4.9 |  |  |  |  | Bruker did not respond; had to shut power off/on.
2020-11-02 | 7:50 | Routine | Solar | sunny |  | yes |  | 4.9 | 4.9 | 5.1 | 4.9 |  |  |  |  | first day with time change (clcok backwards)
2020-11-03 | 7:48 | Routine | Solar | sunny/broken clouds
2020-11-04 | 8:20 | Routine | solar | sunny |  | yes |  | 4.9 | 4.9
2020-11-05 | 8:15 | Routine | solar | sunny |  | yes
2020-11-25 | 8:55 | Routine | Solar | sunny |  | yes | [9 empty] | after snowy day, sunny today
2020-11-26 | 9:07 | Routine | Solar | sunny | [11 empty] | sunny morning of thanksgiving
2020-11-30 | 9:27 | Routine | Solar | sunny |  | yes |  | 4.7 | 4.7
2020-12-03 | 10:30 | Routine | Solar | sunny |  | yes
2020-12-04 | 8:49 | Routine | Solar | sunny |  | yes
2020-12-07 | 7:59 | Routine | Solar | sunny |  | yes | [9 empty] | solar tracker shakes in the AM. Had to go up and touch it.
2020-12-08 | 9:35 | Routine | Solar | sunny but high clouds |  | yes | [9 empty] | solar tracker shakes in the AM. Had to go up and touch it.
2020-12-09 | 9:30 | Routine | Solar | sunny
2020-12-15 | 12:18 | Routine | Solar | sunny; upper clouds | [11 empty] | clouds moving away after cloudy morning; still upper clouds but sunny
2020-12-16 | 9:45 | Routine | solar | sunny/broken clouds |  | yes
2020-12-21 | 10:45 | cell | HBr Cell | gusty |  |  | 19040 (no cell); 13600 (cell) | [8 empty] | check quality of spc, cloudy periods; got windy and stopped obs at about 1:30pm LT
2020-12-30 | 8:45 | Routine | Solar | sunny | [11 empty] | sunny after several overcasts/windy days
2021-01-04 | 9:30 | Routine | solar | sunny/broken clouds |  | yes |  | 4.4 | 4.5 | -4 | -0.5
2021-01-06 | 8:23 | Routine | Solar | sunny
2021-01-08 | 8:16 | Routine | solar | sunny |  | yes | [9 empty] | tracker was shaking in the middle of the day; check spectra at p:15PM UT
2021-01-11 | 11:23 | Routine | solar | sunny |  | yes | [9 empty] | earlier we took off the cover, clean the mirrors and change gains… tracker response looks better
2021-01-12 | 8:56 | Routine | Solar | sunny
2021-01-14 | 9:20 | Routine | solar | sunny/upper clouds |  | yes
2021-01-15 | 8:30 | Routine | solar | sunny |  | yes
2021-01-19 | 10:45 | Routine | solar | sunny |  | yes |  | 4.4 | 4.5 | [6 empty] | cloudy morning but cleared out late morning
2021-01-20 | 8:20 | Routine | solar | sunny |  | yes
2021-01-22 | 8:23 | Routine | Solar | sunny |  | yes
2021-01-25 | 9:42 | Routine | Solar | sunny/upper clouds |  | yes
2021-01-29 | 10:42 | Routine | Solar | sunny/upper clouds |  | yes
2021-02-02 | 9:00 | Routine | solar | sunny
2021-02-03 | 8:20 | Routine | solar | sunny |  | yes |  | 4.4 | 4.5
2020-02-08 | 11:45 | Routine | solar | sunny | [11 empty] | cold front passing in the am, sunny but foggy!
2021-02-15 | 9:15 | Routine | Solar | sunny |  | yes | [9 empty] | first sunny day after frigid, very cold, dates (president's day)
| 8:53 | Routine | Solar | sunny |  | yes |  | 4.3 | 4.5 | 4.3 | 4.3
2020-02-19 | 8:30 | Routine | Solar | sunny |  | yes
2020-02-22 | 10:04 | Routine | Solar | sunny |  | yes | [9 empty] | got windy > 10 m/s
2021-02-23 | 8:55 | Routine | Solar | sunny |  | yes | [9 empty] | got windy after noon
2021-02-24 | 8:18 | Routine | Solar | sunny |  | yes
2021-02-26 | 8:20 | Routine | Solar | sunn |  | yes | [9 empty] | got windy at about 10am, stopped measurements
2021-03-02 | 8:55 | Routine | Solar | sunny |  | yes
2021-03-04 | 9:45 | cell | HBr Cell | cloudy |  | yes | 18220 (no cell); 15130 (cell)
2021-03-05 | 8:15 | Routine | solar | sunny |  | yes
2021-03-10 | 12:25 | Routine | Solar | sunny, broken clouds | [11 empty] | cloudy morning, snowing/raining, warm and snow melting fast - before predicted snow falls for the weekend
2021-03-18 | 8:56 | Routine | Solar | sunny |  | yes | [9 empty] | sunny day after stretch of cloudy/snowy days
2021-03-29 | 7:58 | Routine | Solar | sunny |  | yes |  | 4.4 | 4.5 | 4.3 | 4.3 |  |  |  |  | after many cloudy days and spring break; got windy and closed 10am
2021-03-31 | 8:35 | Routine | Solar | sunny |  | yes | [9 empty] | The spare Tracker was installed today at noon, it needed a new switch limit but it is cleaner/newer.
2021-04-01 | 8:25 | Routine | Solar | sunny
2021-04-06 | 8:55 | Routine | Solar | sunn |  | yes
2021-04-20 | 10:00 | Routine | Solar | sunny |  | yes | [9 empty] | After many cloudy/snowy days (after 11'' snow yestreday) today is sunny; Laser was reseted today
2021-04-29 | 8:51 | Routine | solar | sunny |  | yes | [9 empty] | after rainy/patchy days and Ivan was out for a week
2021-04-30 | 8:25 | Routine | Solar | sunny |  | yes
2021-05-07 | 8:25 | Routine | Solar | sunny, broken clouds |  | yes
2021-05-12 | 8:25 | Routine | Solar | sunny |  | yes |  | 4.4 | 4.5 | 4.4 | 4.3 |  |  |  |  | sunny after many rainy/cloudy days
2021-05-14 | 8:21 | Routine | solar | sunny, broken clouds |  | yes | [9 empty] | yestreday and today similar: sunny morning with broken clouds and cloudy aftr noon
2021-05-19 | 8:24 | Routine | solar | sunny, high clouds |  | yes | [9 empty] | sunny after many rainy/cloudy days
2021-05-24 | 7:53 | Routine | Solar | sunny |  | yes |  | 4.5 | 4.6 | 4.5 | 4.5
2021-06-07 | 8:56 | Routine | Solar | sunny |  | yes
2021-06-09 | 8:48 | Routine | Solar | sunny |  | yes
2021-06-11 | 7:03 | Routine | Solar | sunny |  | yes | [9 empty] | FLT3 only. Note: it was a bit breezy and seemed polluted (fires from UT)?
2021-06-16 | 8:25 | Routine | Solar | sunny/hazy/smoky?
2021-06-20 | 7:37 | Routine | Solar | sunny | [11 empty] | Sunday, before 7 it was windy then ok. FL3 only
2021-06-29 | 10:20 | Routine | solar | sunny/broken clouds |  | yes | [9 empty] | Many cloudy/rainy past days, morning clouady, still cloudy but open in the sun direction
2021-06-30 | 7:33 | Routine | Solar | sunny
2021-07-06 | 9:45 | Routine | Solar | sunny/broken clouds |  | yes
2021-07-07 | 7:23 | Routine | solar | sunny
2021-07-08 | 9:07 | Routine | solar | sunny/broken clouds |  | yes | [9 empty] | came at 7am but got cloudy, then start again at 9 with broken clouds
2021-07-09 | 9:07 | Routine | solar | sunny/upper clouds | [11 empty] | before 9 it was cloudier, at around 9 it cleared out a bit with upper clouds
2021-07-12 | 9:20 | Routine | solar | sunny/smoky | [11 empty] | extremely smoky sky, sun intensity is low but tracking, good case study for fire plumes out of state
2021-07-26 | 12:18 | Routine | Solar | sunny/smoky |  | yes | [9 empty] | late start bc we just got LN2
2021-07-27 | 7:20 | Routine | solar | sunny |  | yes
2020-07-28 | 8:40 | Routine | solar | sunny |  | yes | [9 empty] | cleaned mirros in tracker and down in the lab, solar intensity went up significantly, from 8k to 12k flt1
2021-07-29 | 7:10 | Routine | Solar | sunny |  | yes |  | 5 | 4.7 | 4.5 | 4.4
2021-08-02 | 8:18 | Routine | solar | sunny/smoky | [11 empty] | polluted day, PM very high
2021-08-03 | 11:00 | cell | HBr Cell | cloudy |  | yes | 17800 (no cell); 14900 (cell) | 5 | 4.8 |  |  |  | HBr_InSb_KBr_125.XPM
2021-08-04 | 11:00 | Routine | solar | sunny, broken clouds
2021-08-11 | 7:18 | Routine | solar | sunny, very smoky |  | yes | [9 empty] | very smoky and dim light but tracker locked ok
2021-08-12 | 8:28 | Routine | Solar | sunny, very smoky |  | yes | 12700 (s1) | [8 empty] | still thick smoke, probably last day of smoke
2021-08-13 | 7:05 | Routine | Solar | sunny, some smoke | [11 empty] | still some smoke around but better that last couple of days; solar beam off center before 9am
2021-08-16 | 9:28 | Routine | Solar | sunny |  | yes
2021-08-19 | 9:51 | Routine | solar | sunny/broken clouds
2021-08-20 | 10:30 | Routine | solar | sunny |  | yes | [9 empty] | late start bc high wind speed earlier. Very clear/clean, got some rain yestreday
2021-08-23 | 8:15 | Routine | solar | sunny |  | yes |  | 4.8 | 4.8 | [6 empty] | got cloudy at ~10:30
2021-08-24 |  |  |  | sunny | [11 empty] | very clean air
2021-08-25 | 8:57 | Routine | Solar | sunny |  | yes | [9 empty] | it seems like smoke is back
2021-08-30 | 8:13 | Routine | Solar | sunny/smoky |  | yes | [9 empty] | very smoky and dim light but tracker locked ok
2021-08-31 | 8:54 | Routine | Solar | sunny/smoky |  | yes
2021-09-06 | 8:16 | Routine | Solar | sunny |  | yes | [9 empty] | labor day
2021-09-07 | 8:09 | Routine | Solar | sunny/smoky |  | yes | [9 empty] | very smoky day
2021-09-08 | 8:53 | Routine | Solar | sunny/smoky |  |  |  | 4.7 | 4.7 | 4.6 | 4.6 |  |  |  |  | very smoky day
2021-09-09 | 8:52 | Routine | Solar | sunny/smoky |  | yes | [9 empty] | very smoky day
2021-09-10 | 10:46 | Routine | solar | sunny/smoky | [11 empty] | late starts bc was cloudy in the early morning
2021-09-13 | 10:55 | Routine | solar | sunny/broken clouds |  | yes | [9 empty] | overcast in the am, the clear out a bit with broken clouds
2021-09-15 | 9:18 | Routine | Solar | sunny |  | yes
2021-09-16 | 8:50 | Routine | Solar | sunny |  | yes
2021-09-17 | 11:22 | Routine | Solar | sunny | [11 empty] | late starts bc was cloudy in the morning
2021-09-20 | 8:08 | Routine | Solar | sunny |  | yes
9/21/202 | 8:58 | Routine | Solar | sunny |  | yes
2021-09-22 | 7:20 | Routine | Solar | sunny | [11 empty] | FLT3 only. All day until about 5:40pm
2021-09-23 | 9:06 | Routine | Solar | sunny/hazy? |  | yes |  | 4.8 | 4.7 | 4.7 | 4.6 |  |  |  |  | cloudy morning, then a bit hazy/sunny
2021-09-24 | 8:15 | Routine | solar | sunny/upper clouds | [11 empty] | dim signal due to clouds in the early morning
2021-09-27 | 8:50 | Routine | Solar | sunny
2021-09-28 | 8:56 | Routine | Solar | sunny/broken clouds |  | yes
2021-10-03 | 7:40 | Routine | Solar | sunny |  | yes | [9 empty] | Sunday, FLT3 only.
2021-10-04 | 7:05 | Routine | solar | sunny |  | yes |  | 4.8 | 4.7 | [6 empty] | Monday, FLT3 only…
2021-10-05 | 9:52 | Routine | solar | sunny |  | yes
2021-10-06 | 7:38 | Routine | Solar | sunny |  | yes
2021-10-07 | 9:07 | Routine | Solar | sunny/broken clouds |  | yes
2021-10-08 | 8:06 | Routine | Solar | sunny/upper clouds | [11 empty] | dim light in the am due to upper clouds
2021-10-11 | 8:08 | Routine | Solar | sunny |  | yes | [9 empty] | FLT: 3, and 9 to check CO2 retrievals
2021-10-13 | 8:50 | Routine | Solar | sunny |  | yes |  | 4.6 | 4.6 | 4.6 | 4.5
2021-10-15 | 8:15 | Routine | Solar | sunny
2021-10-20 | 9:05 | Routine | solar | sunny |  | yes
2021-10-22 | 8:11 | Routine | Solar | sunny |  | yes
2021-10-25 | 2:05 | Routine | Solar | sunny/upper thin clouds |  | yes | [9 empty] | cloudy morning, then ok sunny with upper thin clouds
2021-10-27 | 8:07 | Routine | solar | sunny | [11 empty] | flt: 3,5,6,9 ; pretty windy after 10am but kep measurements; 4:19 (LT) adjusted a bit the mirror for solar apt
2021-10-28 | 9:05 | Routine | solar | sunny |  | yes | [9 empty] | flt: 3,5,6,9; good day for diurnal cycle up to sunset, calm/less windy
2021-10-29 | 8:10 | Routine | solar | sunny | [11 empty] | flt: 3,5,6,9,
2021-11-03 | 8:58 | Routine | solar | sunny |  | yes | [9 empty] | flt: 1,2,3,5,6,9; could not connect to otserver, saved data in C:Data
2021-11-04 | 9:08 | Routine | Solar | sunny |  | yes | [9 empty] | flt:1,2,3,4,5,6,9 (good day for diurnal)
2021-11-05 | 8:10 | Routine | solar | sunny |  | yes |  | 4.6 | 4.6 | 4.5 | 4.5 |  |  |  |  | flt:1,2,3,4,5,6,9 (good day for diurnal)
2021-11-08 | 8:06 | Routine | solar | sunny |  | yes | [9 empty] | DAYLIGHT SAVING ENDED YESTERDAY; It got cloudy at around 9:30am
2021-11-09 | 8:51 (3:51UT) | Routine | Solar | sunny (upper clouds) |  | yes | [9 empty] | partly cloudy all day, check spectra, dim light
2021-11-10 | 8:36(3:36 UT) | Routine | solar | partly cloudy | [11 empty] | got windy and stopped obs at 11am LT
2021-11-11 | 8:47 (3:47 UT) | Routine | solar | sunny | [11 empty] | flt:1,2,3,4,5,6,9; got windy (gust > 13 m/s) and stopped obs
2021-11-12 | 9:07 (4:09 UT) | Routine | solar | sunny |  | yes |  | 4.5 | 4.5 | 4.5 | 4.5 |  |  |  |  | flt:1,2,3,4,5,6,9; good for diurnal
2021-11-15 | 8:13 (3:14) | Routine | solar | sunny/upper clouds |  | yes | [9 empty] | got cloudy at ~10:00am
2021-11-17 | 2:36:(9:36) | Routine | Solar | sunny | [11 empty] | flt:1,2,3,4,5,6,9; late start due to cloudy conditions in the am
2021-11-18 | 9:48 (4:49) | Routine | Solar | sunny/upper clouds |  | yes | [9 empty] | flt:1,2,3,4,5,6,9; got cloudy ~ noon
2021-11-19 | 9:10 (4:10) | Routine | Solar | sunny.partly cloudy | [11 empty] | sun but partly cloudy; good day to see cloud effects
2021-11-22 | 8:20 (3:20) | Routine | solar | sunny |  | yes | [9 empty] | flt:1,2,3,4,5,6,9
2021-11-23 | 8:35 | Routine | solar | sunny |  | yes |  | 4.3 | 4.4 | [6 empty] | flt:1,2,3,4,5,6,9; clean tracker mirrors and improved signals by 1.5
2021-11-29 | 8:34 | Routine | solar | sunny | [11 empty] | flt:1,2,3,4,5,6,9; clouds around in and out
2021-11-30 | 8:56 (3:57) | Routine | Solar | sunny |  | yes |  | 4.3 | 4.4 | 4.5 | 4.5 |  |  |  |  | flt:1,2,3,4,5,6,9;
2021-12-02 | 8:45 (3:45) | Routine | solar | sunny |  | yes | [9 empty] | all flts, then only 1,2,3,4,5,6,9;
2021-12-03 | 8:10(3:10) | Routine | Solar | sunny/upper clouds | [11 empty] | all flts,; dim light, upper clouds
2020-12-07 | 9:02 (4:02) | Routine | Solar | sunny/partly cloudy |  | yes | [9 empty] | all flts
2021-12-13 | 8:10 (3:10) | Routine | Solar | sunny/partly cloudy |  | yes |  | 4.2 | 4.3 | 4.3 | 4.3 |  |  |  |  | flt:1,2,3,4,5,6,9; good day to see effect of clouds, one day before strong wind forecasted.
2021-12-14 | 11:10(6:10) | Routine | Solar | sunny/cloudy
2021-12-16 | 8:59 (3:59) | Routine | Solar | sunny |  | yes | [9 empty] | all flts; after extremely windy day
2021-12-17 | 8:10 (3:10) | Routine | Solar | sunny/broken clouds
2021-12-20 | 8:24 | Routine | solar | sunny/broken clouds |  | yes | [9 empty] | all flts
2021-12-21 | 9:14 | Routine | solar | sunny/broken clouds | [11 empty] | all flts
2021-12-22 | 9:24 | Routine | Solar | sunny/upper thin clouds |  | yes | [9 empty] | all flts
2021-12-28 | 8:45 | Routine | Solar | sunny |  | yes |  | 4.3 | 4.3 | [6 empty] | all flts
2021-12-29 | 8:30 | Routine | Solar | sunny/broken clouds | [11 empty] | all flts; stopped obs at 10:50.. Got cloudy
2022-01-07 | 10:55 | Routine | Solar | sunny/upper clouds |  | yes | [9 empty] | all flts; after some days of cloudy/snowy days
2022-01-10 | 8:13 | Routine | Solar | sunny |  |  | s1: 13900 | [8 empty] | all flts; first sunny day; past days cloudy/snowy
2022-01-11 | 2:23(9:23) | Routine | solar | sunny but late | [11 empty] | flts:1,2,3,4,5,6,9; cloudy morning
2022-01-12 | 8:51 (3:51) r | Routine | Solar | sunny/partly cloudy |  | yes | [9 empty] | all flts; got cloudy around 10am
2022-01-13 | 8:06 (3:06) | Routine | solar | sunny |  | yes | s1:10000 | 4.3 | 4.4 | 4.3 | 4.3 |  |  |  |  | all flts;
2022-01-14 | 9:00 (4:00) | cell | HBr Cell | cloudy |  |  | 18362 (no cell); 12890 (cell) | 4.3 | 4.4 |  |  |  | HBr_InSb_KBr_125.XPM
|  |  | no2 bkg |  |  |  | 25990 (no cell) | [5 empty] | N2O_InSb_125 - bkg.XPM
|  |  | no2 cell |  |  |  | 19800 (cell) | [5 empty] | N2O_InSb_125.XPM
2022-02-03 | 8:40 | Routine | solar | sunny | [11 empty] | sunny after snowstorm
2022-02-04 | 8:15 | Routine | solar | sunny |  | yes |  | 4.2 | 4.4 | 4.3 | 4.3
2022-02-14 | 8:05 | Routine | Solar | sunny |  | yes
2022-02-17 | 10:35 | Routine | Solar | sunny |  | yes | [9 empty] | sunny after snowstorm
2022-02-24 | 10:45 | Routine | Solar | sunny |  | yes | [9 empty] | After some snowy days and frigid temps; some sunny period today
2022-02-25 | 8:13 (3:13) | Routine | solar | sunny |  | yes |  | 4.1 | 4.2 | 4.1 | 4.1
2022-02-28 | 9:45 (4:45) | Routine | Solar | sunny |  | yes | [9 empty] | we had our linelist meeting today at 7am, a bit late here in the lab but sunny sky
2022-03-01 | 9:20 | Routine | solar | sunny
2022-03-02 | 9:15 | Routine | solar | sunny/broken clouds | [11 empty] | Marginal conditions; check spectra
2022-03-03 | 12:15 | Routine | solar | sunny/broken clouds | [11 empty] | Marginal conditions; check spectra; cloudy morning
2022-03-07 | 8:37 (3:37) | Routine | Solar | sunny/partly cloudy |  | yes |  | 4.1 | 4.2 | 4.2 | 4.2 |  |  |  |  | Marginal. After couple of snowy days
2022-03-08 | 8:54 | Routine | solar | sunny
2022-03-11 | 8:18 (3:18) | Routine | solar | sunny |  | yes | [9 empty] | After few snowy days; cleaned tracker mirrors
2022-03-14 | 8:13 (2:13 ) | Routine | solar | sunny |  |  |  | 4.1 | 4.2 | [6 empty] | First day after daylight savings
2022-03-15 | 11:10 (5:10) | Routine | solar | sunny/partly cloudy
2022-03-23 | 7:43 (1:43) | Routine | Solar | sunny |  | yes
3/25/20222 | 9:32 (3:32) | Routine | solar | sunny/partly cloudy |  | yes
2022-04-04 | 8:14(2:14) | Routine | solar | sunny/partly cloudy |  | yes
2022-04-07 | 9:10 (3:10) | Routine | Solar | sunny |  | yes | [9 empty] | After few windy days
2020-04-08 | 8:55 (2:55) | Routine | solar | sunny
2021-04-11 | 8:08 (2:08) | Routine | solar | sunny |  | yes
2021-04-15 | 8:20 (2:20) | Routine | solar | sunny | [11 empty] | windy past few days
2022-04-18 | 9:01 | Routine | solar | sunny |  | yes |  | 4.1 | 4.2 | 4.2 | 4.2
2022-04-19 | 9:00 | Routine | Solar | partly cloudy | [11 empty] | got windy around 11
2022-04-20 | 9:03 | Routine | Solar | sunny |  | yes
2022-04-21 | 8:55 | Routine | Solar | sunny
2022-04-28 | 9:00 | Routine | solar | sunny/partly cloudy |  | yes
2022-04-29 | 8:10 (2:10) | Routine | solar | sunny |  | yes | [9 empty] | windy day after midday according with forecast
2022-05-05 | 12:24 (6:24) | Routine | solar | partly cloudy |  | yes | [9 empty] | after some few rainy days
2022-05-09 | 8:13 (2:13) | Routine | Solar | sunny |  | yes |  | 4.2 | 4.3 | 4.2 | 4.2 |  |  |  |  | after 10am some broken clouds
2022-05-10 | 8:17 | Routine | solar | sunny |  | yes | [9 empty] | Jim measured the last couple of days (see notebook notes)
2022-05-13 | 8:12 | Routine | Solar | sunny |  | yes
2022-05-17 | 9:31 | Routine | Solar | sunny |  | yes
2022-05-25 | 8:50 | Routine | Solar | sunny |  | yes | [9 empty] | after several rainy/cloudy days
2022-05-26 | 8:45 | Routine | solar | sunny |  | yes
2022-05-27 | 9:20 | Routine | Solar | sunny
2022-06-02 | 9:07 | Routine | Solar | sunny |  | yes | [9 empty] | after several rainy/cloudy days
2022-06-07 | 11:46(5:46) | Routine | solar | sunny/partly cloudy |  | yes | [9 empty] | partly cloudy and cloudy past days
2022-06-13 | 7:30 | Routine | solar | sunny/smoky |  | yes | [9 empty] | obs over the weekend; today is smoky in the south, new fire?
2022-06-15 | 7:30` | Routine | solar | sunny |  | yes | [9 empty] | remote; windy around 11am.
2022-06-16 | 7:54 | Routine | Solar | sunny |  | yes | [9 empty] | sunny al day, good day to see tracker summer behaviour
2022-06-17 | 8:20 | Routine | Solar | sunny/thin clouds |  | yes | [9 empty] | sunny morning, then some thin clouds; ozone alert today
2022-06-19 | 9:50 | Routine | Solar | sunny |  | yes | [9 empty] | Sunday
2022-06-23 | 7:40 | Routine | Solar | sunny |  | yes
2022-07-12 | 9:25 | Routine | solar | sunny |  | yes | [9 empty] | Semi-remote obs started a few dasy ago
2022-07-21 | 3:19 (9:19) | cell | HBr Cell | cloudy |  | yes | 15556 (no cell); 12662 (cell) | 4.7 | 4.4 | 4.3 | 4.3 |  | HBr_InSb_KBr_125.XPM |  |  | sunny morning, cloudy afternoon
2022-07-25 | 9:14 | Routine | solar | sunny
2022-07-29 | 9:05 | Routine | solar | sunny/partly cloudy |  | yes | [9 empty] | flts:1,2,3,4,5
2022-08-22 | 8:49 (2:49) | Routine | solar | sunny |  | yes |  | 4.7 | 4.4 | 4.3 | 4.3 |  |  |  |  | measuring remotely last weeks
2022-09-06 |  | Routine | solar | sunny/smoky |  | yes | [9 empty] | todays seems a bit polluted; measuring remotely last weeks
2022-09-07 | 8:50 | Routine | solar | sunny/smoky |  | yes | [9 empty] | yestreday and today similar smoky conditions ; wildfires from Montana and Idaho
2022-09-19 | 8:23 | Routine | solar | sunny |  | yes |  | 4.4 | 4.4 | 4.3 | 4.3 |  |  |  |  | after IGAC, using Eric's LN2.
2022-09-26 | 11:33 (5:33 UT) | Routine | Solar | sunny |  | yes | 17k (s1) | [8 empty] | both detectors were pumped down to about 1e-6 torr and installed today both of them
2022-10-10 | 8:35 | Routine | Solar | sunny |  | yes |  | 4.4 | 4.4 | 4.4 | 4.4 |  |  |  |  | a mirror that directs the ligh to FLT6 fell off three days ago.
2022-10-11 | 8:24 | Routine | Solar | sunny |  | yes | [9 empty] | Mirror may be fixed today, meanwhile flts: 1,2,3,4,5
flts:1,2,3,4,5
2022-10-13 | 8:15 | Routine | Solar | sunny |  | yes | [9 empty] | flt 4 to check CO changes from 8-11 am (MOPITT); late today the mirror was glued.
2022-10-14 | 8:10 | Routine | solar | sunny |  | yes | [9 empty] | flt 4 to check CO changes from 8-11 am (MOPITT)
| 8:20 (3:20 UT) | Routine | solar | sunny |  | yes | [9 empty] | daylight saving time ended yesterday
2022-11-15 | [15 empty] | First day with the local Young met station: Comparisons with EOL Met station data on the same plots show that wind speed looks somehow similar. There is a 1 deg C temperature offset between them and about 8% RH offset.
2022-11-18 | 1:15(8:15ut) | Routine | Solar | sunny |  | yes | [9 empty] | after a full day of snow
2022-11-28 | 8:15 (3:18) | Routine | solar | sunny/partly cloudy |  | yes | [9 empty] | after thanksgiving break
2022-11-30 | 9:30 (4:30ut) | Routine | solar | sunny |  | yes |  | 4.3 | 4.3 | [6 empty] | after snowy day, sunny today
2022-12-16 | 8:54 | Routine | solar | sunny/partly cloudy |  | yes | [9 empty] | Swapped ln2 dewar. After many cloudy, windy days
2023-01-09 | 8:30 | Routine | solar | sunny |  | yes |  | 4.4 | 4.2 | 4.2 | 4.2 |  |  |  |  | Pretty cloudy/snowy days early 2023, then motor of hatch stopped working ok. Jim and I worked on the tracker today and fixed the pin problem (I took photos with my phone)
2023-01-13 | 1:30 pm lt | Routine | Solar | partly suny
2023-01-19 | 8:40 | Routine | solar | sunny |  |  |  | 4 | 4.2 | 4.2 | 4.2 |  |  |  |  | After many cloudy/snowy days (after about 10'' snow yestreday) today is sunny)
2023-01-26 | 8:15 | Routine | solar | sunny |  | yes | [9 empty] | Very cloudy past days.
2023-01-31 | 8:30 | Routine | Solar | sunny |  | yes | [9 empty] | After another round of cloudy and very cold days. I notice(again) the vacuum of the InSb is gone
2023-02-02 | 10:07 | Routine | solar | sunny | [11 empty] | only FLT6 (InSb is in the vacuum pump)
2023-02-03 | 8:35 | Routine | solar | sunny | [11 empty] | only FLT6, messed up the InSb vacumm while pulling the vacuum device
2023-02-07 | 8:18 | Routine | solar | sunny |  | yes | [9 empty] | first day after vacuumed the InSb.
2023-02-08 | 9:15 | Routine | solar | sunny |  | yes
2023-02-09 | 11:35 | cell | HBr Cell | cloudy |  |  | 19400 (no cell); 15900 (cell) | 4.1 | 4.2 | 3.9 | 3.8 |  | HBr_InSb_KBr_125.XPM |  |  | HBr#87.
2023-02-10 | 8:22 | Routine | Solar | sunny |  | yes
2023-02-14 | 8:56 | Routine | Solar | sunny/partly cloudy |  | yes | [9 empty] | Partly cloudy/low intensity, before snowstorm later tonight
2023-02-16 | 8:35 | Routine | solar | sunny | [11 empty] | after snowstorm
2023-03-02 | 8:25 | Routine | solar | sunny |  | yes
2023-03-06 | 8:21 | Routine | solar | sunny |  | yes |  | 3.9 | 4.1
2023-03-08 | 8:10 | Routine | solar | sunny | [11 empty] | First day after The acom-bruker machine has been moved behind the firewall
2023-03-13 | 8:05 | Routine | solar | sunny/partly cloudy |  | yes | [9 empty] | First day after daylight savings
2023-03-14 | 8:15 | Routine | Solar | sunny/partly cloudy |  | yes |  | 3.8 | 4.1 | 3.9 | 3.8
2023-04-03 | 8:13 | Routine | Solar | sunny |  | yes |  | 3.8 | 4 | 3.8 | 3.8
2023-04-07 | 8:15 | Routine | Solar | sunny |  | yes |  | 3.8 | 4
2023-04-10 | 8:43 | Routine | solar | sunny | [11 empty] | A dialog about OPUS expiration appeared. I used the information inside the box containing the OPUS 7.8 USB sticker
2023-04-11 | 8:22 | Routine | Solar | sunny |  | yes |  | 3.8 | 4 | 3.9 | 4
2023-04-17 | 8:23 | Routine | Solar | sunny |  | yes
2023-04-18 | 10:00 | Routine | solar | partly cloudy
2023-04-20 | 8:38 | Routine | solar | sunny |  | yes | [9 empty] | flts: 3,2,1,4,5,6; a bit windy, went up to clean tracker mirrors.
2023-04-23 | 1:55 | Routine | solar | sunny | [11 empty] | overnight power outage; pc was down so had to come on site; Mesa lab shutdown so I had to save data in C:
2023-04-27 | 8:11 | Routine | Solar | sunny |  | yes
2013-04-28 | [15 empty] | NetTime was downloaded (again) to sync time.
2023-05-01 | 8:10 | Routine | Solar | sunny |  | yes | [9 empty] | From the TEMPO meeting
2023-05-16 | 8:17 | Routine | Solar | SUNNY |  | yes | [9 empty] | Afer many cloudy/rainy days
2023-05-22 | 1:22 | Routine | solar | sunny |  | yes | [9 empty] | Hazy/cloudy morning, then only smokey from wildfires from Canada (smokey but less yesterday). Dimmed ligt but ok
2023-05-23 | 7:51 | Routine | solar | sunny |  | yes | [9 empty] | very hazy/smokey, dim light but racking.
2023-05-25 | 7:25 | Routine | solar | sunny | [11 empty] | smoke is gone
2023-09-06 | 7:01 | Routine | solar | sunny |  | yes | [9 empty] | cloudy/rainy past days
2023-06-20 | 9:45 | cell | HBr Cell | cloudy |  |  | 17026 (no cell); 14020 (cell) | 4.4 | 4.2 | 4.2 | 4.2 |  | HBr_InSb_KBr_125.XPM |  |  | HBr#87. Today tracker mirror were cleaned and rails.
2023-06-20 | 1:40 | Routine | solar | sunny |  | yes | [9 empty] | Cloudy morning but then sunny after around 1pm LT
2023-06-29 | 9:45 | Routine | solar | sunny | [11 empty] | cloudy morning but then ok (Spring creek fire in the past days but not really arounbd much)
2023-07-20 | 10:23 | Routine | solar | sunnpy/partly cloudy |  | yes
2023-07-31 | 13:30 | Routine | Solar | sunnpy/partly cloudy
2023-08-23 | 9:05 | Routine | Solar | sunny/partly cloudy |  | yes
2023-08-28 | 8:17 | Routine | Solar | sunny |  | yes |  | 4.3 | 4.2 | 3.9 | 3.9
2023-09-06 |  |  | solar | sunny | [11 empty] | smoke is back, sunny day..
2023-09-07 | 8:20 | Routine | solar | sunny |  | yes |  | 4.4 | 4.3 | 4 | 4.1
2023-10-12 | 8:50 | cell | HBr Cell | cloudy |  | yes | 17950 (no cell); 14930 (cell) | [5 empty] | HBr_InSb_KBr_125.XPM
2023-10-13 | [15 empty] | First day of fully automated system
2023-10-18 | [15 empty] | Sunny morning with partly cloudy afternoon makes this day interesting to check spectra within clouds
2023-11-09 | 8:30 | Routine | Solar | sunny |  | yes | [9 empty] | After snow/rain the last couple of days, the atdsis is reading lower values; maybe filters got wet?
2024-02-05 | 10:00 | Routine | solar | sunn |  | yes | [9 empty] | After heavy snow; atdsis got an offset (forgot to cover)
2024-03-08 | 9:10 | Cell | HBr Cell | cloudy |  | yes | 16100 (no cell); 11600 (cell) | [5 empty] | HBr_InSb_KBr_125.XPM |  |  | sample gain x2;
|  |  | N2O Cell |  |  |  | 26100 (no cell); 19450 (cell) | [5 empty] | N2O_InSb_125.XPM
2024-04-08 | 8:27 | Routine | solar | sunny |  | yes | [9 empty] | Monday after exceptional high wind speed event over the weekend.
2024-08-13 | 11:20 | cell | HBr Cell | cloudy |  | yes | 17605 (no cell); 14750
2024-10-12 | 8:29 | cell | HBr Cell | cloudy |  | yes | 18200 (no cell);
2024-12-13 | [15 empty] | Swapped computers these days